## config
id_macro_filename | id_macro_marker
system/system_init.h | LOG_ID_MACROS

## ccpd_post_st
filename | marker | common_id | field | c_datatype | bytes | msg
usecase/uc_ccpd.c | CCPD_POST_ST_STRUCT | 110 | begin_time_ms | uint32_t | 4 | MSG_UC_MASTER_GET_CCPD_POST_BEGIN_MS
|  |  | mainpump_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_MAINPUMP
|  |  | battery_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_BATTERY
|  |  | ht_inlet_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_HT_INLET
|  |  | ht_outlet_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_HT_OUTLET
|  |  | ht_hpad1_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_HT_HPAD1
|  |  | ht_hpad2_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_HT_HPAD2
|  |  | heater_func_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_HEATER_HEAT
|  |  | turb_top_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_TURB_TOP
|  |  | turb_side_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_TURB_SIDE
|  |  | level_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_PERIT
|  |  | perit_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_LEVEL
|  |  | airpressure_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_AIRPA
|  |  | eeprom_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_EEPROM
|  |  | fan_st | uint8_t | 1 | MSG_UC_MASTER_GET_CCPD_POST_FAN
|  |  | end_time_ms | uint32_t | 4 | MSG_UC_MASTER_GET_CCPD_POST_END_MS

## uc_running_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
utilities/uc_helper.h | UC_RUNNING_CFG_STRUCT | 100 | uc_type | uint8_t | 1 | MSG_UC_MASTER_GET_RUN_UC_TYPE
|  |  | uc_state_id | uint16_t | 2 | MSG_UC_MASTER_GET_RUN_UC_STATE_ID
|  |  | uc_state_action | int8_t | 1 | MSG_UC_MASTER_GET_RUN_UC_STATE_ACTION

## heater_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
heater/heater.h | HEATER_CFG_STRUCT | 10 | heater_mode | uint8_t | 1 | MSG_HEATER_GET_HT_MODE
|  |  | adc_lpf_win_size | uint8_t | 1
|  |  | min_pwm_dc | uint8_t | 1 | MSG_HEATER_GET_MIN_PWM_DC
|  |  | max_pwm_dc | uint8_t | 1 | MSG_HEATER_GET_MAX_PWM_DC
|  |  | run_interval_ms | uint16_t | 2 | MSG_HEATER_GET_RUN_INTERVAL
|  |  | adc_read_timeout | uint16_t | 2
|  |  | target_fluid_temp | int16_t | 2 | MSG_HEATER_GET_TARGET_FLUID_TEMP
|  |  | max_heater_temp | int16_t | 2 | MSG_HEATER_GET_MAX_HEATER_TEMP
|  |  | p_gain_const | float | 4
|  |  | i_gain_const | float | 4
|  |  | d_gain_const | float | 4
|  |  | inlet_fluid_temp | int16_t | 2 | MSG_HEATER_GET_INLET_TEMP
|  |  | heater_pad_1_temp | int16_t | 2 | MSG_HEATER_GET_OUTLET_TEMP
|  |  | heater_pad_2_temp | int16_t | 2 | MSG_HEATER_GET_HPAD1_TEMP
|  |  | outlet_fluid_temp | int16_t | 2 | MSG_HEATER_GET_HPAD2_TEMP
|  |  | op_pwm_dc | uint8_t | 1 | MSG_HEATER_GET_PWMOUT

## bms_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
BMS/bms.h | BMS_CFG_STRUCT | 20 | run_interval_ms | uint16_t | 2
|  |  | is_charging | bool | 1 | MSG_BMS_GET_CHARGING_STATUS
|  |  | bat_temp | float | 4 | MSG_BMS_GET_BAT_TEMP
|  |  | bat_volt | float | 4 | MSG_BMS_GET_BAT_VOLT
|  |  | bat_current | int16_t | 2 | MSG_BMS_GET_BAT_CURRENT
|  |  | bat_avg_current | int16_t | 2 | MSG_BMS_GET_BAT_AVG_CRNT
|  |  | rel_soc | uint8_t | 1 | MSG_BMS_GET_RELATIVE_SOC
|  |  | abs_soc | uint8_t | 1 | MSG_BMS_GET_ABSOLUTE_SOC
|  |  | rem_capacity | uint16_t | 2 | MSG_BMS_GET_REM_CAPACITY
|  |  | run_time_to_empty | uint16_t | 2 | MSG_BMS_GET_RUN_TIME_TO_EMPTY
|  |  | avg_time_to_empty | uint16_t | 2 | MSG_BMS_GET_AVG_TIME_TO_EMPTY
|  |  | avg_time_to_full | uint16_t | 2 | MSG_BMS_GET_AVG_TIME_TO_FULL
|  |  | charging_current | uint16_t | 2 | MSG_BMS_GET_BAT_CHG_CURRENT
|  |  | charging_voltage | float | 4 | MSG_BMS_GET_BAT_CHG_VOLT
|  |  | cell1_voltage | float | 4 | MSG_BMS_GET_BAT_CELL1_VOLT
|  |  | cell2_voltage | float | 4 | MSG_BMS_GET_BAT_CELL2_VOLT
|  |  | cell3_voltage | float | 4 | MSG_BMS_GET_BAT_CELL3_VOLT
|  |  | num_dschg_cycles | uint16_t | 2 | MSG_BMS_GET_BAT_DSCHG_COUNT
|  |  | health_state | uint8_t | 1 | MSG_BMS_GET_BAT_HEALTH

## mainpump_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
mainpump/mainpump.h | MAINPUMP_CFG_STRUCT | 30 | cur_pwm_dc | uint8_t | 1 | MSG_MAINPUMP_GET_CUR_PWM_DC
|  |  | pwm_dc_incdec_step_size | uint8_t | 1 | MSG_MAINPUMP_GET_PWM_INC_DEC_STEP
|  |  | is_pump_started | bool | 1 | MSG_MAINPUMP_GET_DRIVE_STAGE

## valve_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
valve/valve.h | VALVE_CFG_STRUCT | 40 | move_duration_ms | uint16_t | 2 | MSG_VALVE_GET_MOVE_DURATION
|  |  | cont_movement | bool | 1 | MSG_VALVE_GET_CONT_MOVEMENT

## sensors_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
sensor/sensor.h | SENSOR_CFG_STRUCT | 50 | run_interval_ms | uint32_t | 4
|  |  | bub_lpf_win_size | uint8_t | 1 | MSG_SENSORS_GET_BUB_LPF_WIN_SIZE
|  |  | bub_run_interval_ms | uint16_t | 2 | MSG_SENSORS_GET_BUB_RUN_INTERVAL
|  |  | turb_top_run_interval_ms | uint16_t | 2
|  |  | turb_side_run_interval_ms | uint16_t | 2
|  |  | door_status | uint8_t | 1 | MSG_SENSORS_GET_DOOR_STATUS
|  |  | cassette_status | uint8_t | 1 | MSG_SENSORS_GET_CASSETTE_STATUS
|  |  | hall_1_status | uint8_t | 1 | MSG_SENSORS_GET_HALL_1_STATUS
|  |  | turb_top_value | uint16_t | 2 | MSG_SENSORS_GET_TURB_TOP_VAL
|  |  | turb_side_value | uint16_t | 2 | MSG_SENSORS_GET_TURB_SIDE_VAL
|  |  | perit_r_value | uint16_t | 2 | MSG_SENSORS_GET_PERIT_R_VAL
|  |  | perit_g_value | uint16_t | 2 | MSG_SENSORS_GET_PERIT_G_VAL
|  |  | perit_b_value | uint16_t | 2 | MSG_SENSORS_GET_PERIT_B_VAL
|  |  | cur_h1_mA | uint32_t | 4 | MSG_SENSORS_GET_CURRENT_H1_VAL
|  |  | cur_h2_mA | uint32_t | 4 | MSG_SENSORS_GET_CURRENT_H2_VAL
|  |  | bub_det | BUBBLE_OUT_T | 1 | MSG_SENSORS_GET_BUBBLE_DET_VAL

## pressure_cfg
filename | marker | common_id | field | c_datatype | bytes | msg
pressure/pressure_monitor.h | PRESSURE_CFG_STRUCT | 60 | run_interval_ms | uint16_t | 2 | MSG_PRESSURE_GET_RUN_INTERVAL
|  |  | lc1_act_raw_val | int32_t | 4 | MSG_PRESSURE_GET_LC1_ACT_RAW_VAL
|  |  | lc1_rel_raw_val | int32_t | 4 | MSG_PRESSURE_GET_LC1_REL_RAW_VAL
|  |  | lc2_act_raw_val | int32_t | 4 | MSG_PRESSURE_GET_LC2_ACT_RAW_VAL
|  |  | lc2_rel_raw_val | int32_t | 4 | MSG_PRESSURE_GET_LC2_REL_RAW_VAL
|  |  | air_act_pa_val | float | 4 | MSG_PRESSURE_GET_AIR_ACT_PA_VAL
|  |  | air_rel_pa_val | float | 4 | MSG_PRESSURE_GET_AIR_REL_PA_VAL
|  |  | lc1_rel_pa_val | float | 4 | MSG_PRESSURE_GET_LC1_REL_PA_VAL
|  |  | lc2_rel_pa_val | float | 4 | MSG_PRESSURE_GET_LC2_REL_PA_VAL